# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

- Contract title: Supply of Equipments and Goods – lot 1: Measurement and Control Equipment

- Publication reference: 1414 / Politehnica University Timişoara / 3 - PROCUREMENT OF EQUIPMENTS AND GOODS

Column 1-2 should be completed by the Contracting Authority

Column 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Item name: Burned gas analyzer Quantity: 1 |  |  |  |
|  | measures: Ambient air temperature, Flue gas temperature, Oxygen, Carbon monoxide, Chimney draft, Pressure, Differential pressure, NOX, O2 measurement in air duct, CO in ambient air without additional probe |  |  |  |
|  | Display (minimum requirements): LC-display; 6-lines, 20 characters each; alphanumerical, backlit |  |  |  |
|  | Interface (minimum requirements): Serial, 2,400 up to 115,200 baud |  |  |  |
|  | Operating temperature (minimum requirements): + 5 °C to + 40 °C |  |  |  |
| 2 | Item name: Infrared Thermometer Kit Quantity: 1 |  |  |  |
|  | range (minimum requirements): -30°C ÷ 760°C |  |  |  |
|  | temperature resolution (minimum requirements): 0.1 °C |  |  |  |
|  | accuracy (minimum requirements): ± 1°C |  |  |  |
|  | calibration function: compatible IR calibrator |  |  |  |
| 3 | Item name: Anemometer Quantity: 1 |  |  |  |
|  | wind speed (minimum requirements): 0.2...20 m/s |  |  |  |
|  | precision (minimum requirements): +/-5% |  |  |  |
|  | temperature (minimum requirements): 0...50°C |  |  |  |
|  | interface RS 232 |  |  |  |
| 4 | Item name: Self Leveling 360 Degree Laser Level Quantity: 1 |  |  |  |
|  | Accuracy (All Beams) (minimum requirements): <3mm at 30m |  |  |  |
|  | Range (minimum requirements): +/- 30.5m |  |  |  |
|  | Weather Resistant: Splash & Dust resistant (IP54; IEC529) |  |  |  |
| 5 | Item name: Explosive Gas Detector Quantity: 1 |  |  |  |
|  | plug-in catalytic sensor |  |  |  |
|  | range (minimum requirements): 0...100% LEL |  |  |  |
|  | accuracy (minimum requirements): +/- 1% LEL |  |  |  |
|  | response time (minimum requirements): < 20 s at T90 |  |  |  |