# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

- Contract title: Supply of Equipments and Goods – lot 5: Electromechanical and Electronic Accessories

- Publication reference: 1414 / Politehnica University Timişoara / 3 - PROCUREMENT OF EQUIPMENTS AND GOODS

Column 1-2 should be completed by the Contracting Authority

Column 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Item name: Anaerobic Digester Quantity: 1 |  |  |  |
|  | Reactors (minimum requirements): 4 pieces, thermal resistant flat bottom flasks glass narrow neck, nominal capacity 5 litres |  |  |  |
|  | Gas container (minimum requirements): 25 l |  |  |  |
|  | Dish samples (minimum requirements): 2 pieces, material - porcelain |  |  |  |
|  | Heating control from room temperature to 60ºC; |  |  |  |
|  | Stirring control with variable rpm |  |  |  |
|  | pH value measuring device (minimum requirements): range 1…16, resolution 0,01, temperature accuracy ± 0,5 deg. Celsius, operating temperature 0 – 50 deg. Celsius |  |  |  |
|  | Compatible stoppers with halls (minimum requirements): 10 pcs, compatible with the reactors |  |  |  |
|  | Hose connections, valves, vanes |  |  |  |
|  | Cylindrical magnetic stirring bars (minimum requirements): 10x80 mm – 10 pcs, 12X120 mm – 2 pcs |  |  |  |
|  | Disposable Syringes (minimum requirements): luer-fitting 50 ml x 20 pcs, plastic material |  |  |  |
|  | Gas collection bags (minimum requirements): 200pcs, 20 l capacity/bag |  |  |  |
|  | Gooch Crucible (minimum requirements): 25 ml x 5 pcs |  |  |  |
| 2 | Item name: Renewable Energy Demonstrative Kit Quantity: 1 |  |  |  |
|  | Functionality: integrated photovoltaic, wind and fuel cell technology, data aquisition & processing |  |  |  |
|  | Photovoltaic modules (minimum requirements): 2 pieces, 400mW, adjustable tilt angle |  |  |  |
|  | Wind turbine (minimum requirements): 0.5W, rotor diameter 400 mm, adjustable blade angle and number |  |  |  |
|  | Electrolyzer (minimum requirements): 2 pieces, 1 W, H2 production 5 cmc/min, O2 production 2.5 cmc/min |  |  |  |
|  | Fuel cell stack (minimum requirements): variable cell number, 5 cells, 0.2 W/cell |  |  |  |
|  | Gas storage system (minimum requirements): 4 canisters with scale, 30 cmc |  |  |  |
|  | Load unit (minimum requirements): illuminant 2x2.4W |  |  |  |
|  | Spotlight (minimum requirements): illuminant 2x75W |  |  |  |
|  | Fan: variable rpm, 3 levels |  |  |  |
|  | Anemometer (minimum requirements): measuring range 0.5…30 m/s, accuracy +/- 5% |  |  |  |
|  | Photometer (minimum requirements): measuring range 0.01…50000 lux, accuracy +/- 5% |  |  |  |
|  | USB data acquisition unit (minimum requirements): power max. 10 W, voltage 0…4 V DC |  |  |  |
|  | Monitoring, data acquisition and graphical representation software |  |  |  |
|  | Thermosolar system (minimum requirements): panel with 10 Heat Pipes, thermo-controller with data output, recirculation pump - flow rate 4 l/min, 100 l bivalent boiler, 10 l expansion tank, 5 l solar antifreeze |  |  |  |