# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

- Contract title: Supply of Materials for Laboratory

- Publication reference: MIS ETC 1328, Politehnica University Timisoara, Procurement No. 5

Column 1-2 should be completed by the Contracting Authority

Column 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered |  |  |  | 4. Notes, remarks, ref to documentation |  |  | 5. Evaluation Committee’s notes |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Reagents and chemical |  |  |  |  |  |  |  |  |  |
| 1 | Item name: Ethyl alcohol PA, min 5 litre packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 2 | Item name: Methyl alcohol PA, min 5 litre packing Quantity: `1 |  |  |  |  |  |  |  |  |  |
| 3 | Item name: Acetone recipient, min 5 litre packing Quantity: ` |  |  |  |  |  |  |  |  |  |
| 4 | Item name: Nitric acid, min 67%, min 2 kg packing Quantity: `1 |  |  |  |  |  |  |  |  |  |
| 5 | Item name: Hydrochloric acid, min 37% , min 2,5 litre packing Quantity: `1 |  |  |  |  |  |  |  |  |  |
| 6 | Item name: Phosphoric acid, min 85%, min 1 litre packing Quantity: `1 |  |  |  |  |  |  |  |  |  |
| 7 | Item name: Anhydrous glycerine, min 1 litre packing Quantity: `1 |  |  |  |  |  |  |  |  |  |
| 8 | Item name: Glacial acetic acid, min 1 litre packing Quantity: `1 |  |  |  |  |  |  |  |  |  |
| 9 | Item name: Sulphuric acid, min 95% purity, min 2,5 litre packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 10 | Item name: Self-cured acrylic resin set (type Dentacryl or similar) Quantity: `1 |  |  |  |  |  |  |  |  |  |
| 11 | Item name: Acrylic conductive powder for electron microscope min 0.3 kg packing Quantity: `6 |  |  |  |  |  |  |  |  |  |
| 12 | Item name: Catalyst for acrylic conductive powder for electron microscope min 400 ml packing Quantity: `5 |  |  |  |  |  |  |  |  |  |
| 13 | Item name: Monocrystalline and Polycristalline diamond suspensions set max 0.25 microns, 250ml packing Quantity: `3 |  |  |  |  |  |  |  |  |  |
| 14 | Item name: Molybdenum (IV) sulfide , min 1 kg packing Quantity: `1 |  |  |  |  |  |  |  |  |  |
|  | Raw materials |  |  |  |  |  |  |  |  |  |
| 1 | Item name: Chromium min 99% purity, granules max 3 mm, min 1 kg packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 2 | Item name: Chromium Powder, min 99.9% purity, 500 micron, min 1 kg packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 3 | Item name: Cobalt Powder, min 99.9% purity, 200 mesh, min 250 g packing Quantity: 2 |  |  |  |  |  |  |  |  |  |
| 4 | Item name: Cobalt Pellets, min 99.95% purity, max 7 x 7 mm size, min 50 g packing Quantity: 2 |  |  |  |  |  |  |  |  |  |
| 5 | Item name: Germanium Powder, min 99.99% purity, min 25 g packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 6 | Item name: Hafnium Pellets, min 99% purity, max 3 mm size, min 25 g packing Quantity: 2 |  |  |  |  |  |  |  |  |  |
| 7 | Item name: Hafnium Powder, min 99.8% purity, 325 mesh, min 15 g packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 8 | Item name: Iron Pieces, min 99.98% purity, size max 2 mm, min 250 g packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 9 | Item name: Iron Powder, min 99.9% purity, min 500 g packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 10 | Item name: Manganese Powder, min 99.6% purity, 325 mesh, 500 g packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 11 | Item name: Molybdenum Foil, min. 99.95% purity, max 0.1 mm thick, min 350 x 350 mm size Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 12 | Item name: Molybdenum Pellets‚ min 99.98% purity, max 7 x 7 mm size, min 100 g packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 13 | Item name: Molybdenum Powder, min 99.95%, 2-4 micron, min 500 g packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 14 | Item name: Nickel Powder, min 99.99% purity, 100 mesh, min 100 g packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 15 | Item name: Nickel Pellets, min 99.995% (Co <1 ppm), max 6 mm size, min 50 g packing Quantity: 2 |  |  |  |  |  |  |  |  |  |
| 16 | Item name: Niobium Powder, min 99.9% purity, max 180 micron, min 125 g packing Quantity: 2 |  |  |  |  |  |  |  |  |  |
| 17 | Item name: Niobium Granules, min 99.9%, max 10 mm size, min 250 g packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 18 | Item name: Palladium Powder, min 99.9% purity, max 60 micron size, min 2 g packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 19 | Item name: Silicon Powder, min 98.5% purity, max. 160 micron, min. 1 kg packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 20 | Item name: Silicon Pieces, min 99.99% purity, max 6 mm size, min 250 g packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 21 | Item name: Palladium Wire min 99.95% purity, min 0.25 mm diameter , min 2,5 m length Quantity: 2 |  |  |  |  |  |  |  |  |  |
| 22 | Item name: Tantalum Powder, min 99.9% purity, max 100 micron size, min 50 g packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 23 | Item name: Tantalum Pellets, min 99.9% purity, max 6 mm size, min 50 g packing Quantity: 2 |  |  |  |  |  |  |  |  |  |
| 24 | Item name: Tantalum Foil, min 99.9% purity, max 0.15 mm thickness, min 100 x 100 mm size Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 25 | Item name: Titanium Granules, min 99.8% purity, max 6 mm size, min 500 g packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 26 | Item name: Titanium Powder, min 99.8% purity, max 125 micron size, min 200 g packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 27 | Item name: Titanium Foil, min 99,6% purity, max 0.1 mm thickness, min 150 x 150 mm size Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 28 | Item name: Vanadium Powder, min 99.5% purity, 200 mesh, min 25 g packing Quantity: 2 |  |  |  |  |  |  |  |  |  |
| 29 | Item name: Vanadium Rod, min 99.9% purity, min 5 mm diameter, min 100 mm length Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 30 | Item name: Zirconium Granules, min 99.8% purity, max 10 mm size, min 100 g packing Quantity: 2 |  |  |  |  |  |  |  |  |  |
| 31 | Item name: Zirconium Powder, min 94% purity, max 5 micron, min 100 g packing Quantity: 1 |  |  |  |  |  |  |  |  |  |
|  | Spare parts |  |  |  |  |  |  |  |  |  |
| 1 | Item name: Al pans and covers box set suited to be used in Perkin Elmer Calorimeter DSC7; Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 2 | Item name: Alumina tube with at least 99,7% Al2O3; size: 60 mm outer diameter, 50 mm inner diameter, min 1100 mm length, for use at least up to 1200 oC. Quantity: 2 |  |  |  |  |  |  |  |  |  |
| 3 | Item name: Alumina tube closed at one end, size: 60 mm outer diameter, 50 mm inner diameter, min 1100 mm length, for use at least up to 1200 oC. Quantity: 2 |  |  |  |  |  |  |  |  |  |
| 4 | Item name: Quartz crucible min 18 mm outer diameter, min 1,8 mm wall thickness, min 180 mm length, set of 5 with at least 1 mm noozle size. Quantity: 2 |  |  |  |  |  |  |  |  |  |
| 5 | Item name: Pyrometer, temperature range at least up to 2000ºC, precision at least: ±0,3% , response time: max 1ms, protection IP65. Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 6 | Item name: Flexible vacuum hose, KF connection with DN25 size, stainless steel, flexible, length min 1000mm. Quantity: 1 |  |  |  |  |  |  |  |  |  |
| 7 | Item name: Valve: Size DN40 CF, Suited for high vacuum, Working temperature: at least up to 200°C Quantity: 1 |  |  |  |  |  |  |  |  |  |

Unless otherwise specified, the requirements in this Technical Specifications are presented as minimum standard which the offered goods must meet. The offers that will not satisfy completely and correctly the minimum requirements mentioned bellow will be disqualified.
	When brands names/specifications referring to or describing products of a given brand or origin are used in this technical specifications, they are used in descriptive purposes only and should be interpreted as equivalent.